## Sheet1
Inventory ID | Category | Spare Part Name | Specification | Unit Measure | Quantity in stock
E-0001 | Electrical | Led Tube, Osram, 18W | St8A-1.2M 17.5W / 865 G9 | Unit | 0
E-0002 | Electrical | Led Floodlight, Ege, 80W | Ege-Fl80-Tgs-6000K | Unit | 0
E-0003 | Electrical | Led Floodlight, Ege, 50W | Ege-Fl100-Tgs-5000K | Unit | 10
E-0004 | Electrical | Led Floodlight, Ege, 100W | Ege-Fl100-Tgs-4000K | Unit | 0
E-0005 | Electrical | Led Floodlight, Ege, 150W | Ege-Fl150-Tgs-6000K | Unit | 0
E-0006 | Electrical | Led Floodlight, Ege, 150W | Ege-Fl150-Tgs-4000K | Unit | 0
E-0007 | Electrical | Led Floodlight, Ege, 200W | Ege-Fl200-Tgs-6000K | Unit | 0
E-0008 | Electrical | Led Recessed Downlight, Goodlite, 8W , Round | Gdl Nsf R100 860 | Unit | 25
E-0009 | Electrical | Led Recessed Downlight, Goodlite, 15W , Round | Gdl Nsf R150 860 | Unit | 25
E-0010 | Electrical | Led Recessed Downlight, Goodlite, 22W , Round | Gdl Nsf R200 860 | Unit | 25
E-0011 | Electrical | Led Recessed Downlight, Goodlite, 22W , Square | Gdl Nsf S200 860 | Unit | 25
E-0012 | Electrical | Led Panel Light, Goodlite, 40W | Gbpl-E-Sq603-860-36W | Unit | 0
E-0013 | Electrical | Led Panel Light, Goodlite, 60W | Gbpl-E-Re603-860-60W | Unit | 0
E-0014 | Electrical | Led Highbay Light, Ege, 150W | Mxp-Hb150-G10-6000K | Unit | 0
E-0015 | Electrical | Led Highbay Light, Ege, 200W | Mxp-Hb200-G10-6000K | Unit | 0
E-0016 | Electrical | Led Street Lantern, Ege, 120W | Mxp-Sl120-Rst-4000K | Unit | 0
E-0017 | Electrical | Led Recessed Canopy Light, Ege, 150W | Ege-Cpl150-Cl01-6500K | Unit | 0
E-0018 | Electrical | Led Suspended Light, Cooled, 37.5W | Lumill4500C | Unit | 25
E-0019 | Electrical | Led Emergency Light, Pne, 3W | Tel-30 Led | Unit | 0
E-0020 | Electrical | Led Emergency Light, Pne, 1W | Pth 100 | Unit | 0
E-0021 | Electrical | Led Emergency Light, Pne, 4.5W | Pth 311 | Unit | 0
E-0022 | Electrical | Led Keluar Light, Pne, 4.5W | Pex-215 Led | Unit | 0
E-0023 | Electrical | Pilot Lamp Ac 240V (Led) - Sz22-C50 - Salzer | Red | Pcs | 50
E-0024 | Electrical | Pilot Lamp Ac 240V (Led) - Sz22-C50 - Salzer | Yellow | Pcs | 50
E-0025 | Electrical | Pilot Lamp Ac 240V (Led) - Sz22-C50 - Salzer | Blue | Pcs | 50
E-0026 | Electrical | Pilot Lamp Ad116-22Ds Ac/Dc 110DC (Led) - Salzer | Red | Pcs | 0
E-0027 | Electrical | Pilot Lamp Ad116-22Ds Ac/Dc 110DC (Led) - Salzer | Yellow | Pcs | 0
E-0028 | Electrical | Pilot Lamp Ad116-22Ds Ac/Dc 110DC (Led) - Salzer | Blue | Pcs | 0
E-0029 | Electrical | Pilot Lamp Ad116-22Ds Ac/Dc 110DC (Led) - Salzer | Green | Pcs | 0
E-0030 | Electrical | Pilot Lamp Ad116-22Ds Ac/Dc 110DC (Led) - Salzer | White | Pcs | 0
E-0031 | Electrical | Panel Mount Indicator (Led) 22M 220Vac - Idec | White | Pcs | 0
E-0032 | Electrical | Led T8 18W - 4Ft | 6500K | Pcs | 200
E-0033 | Electrical | Led T8 9Watt - 2Ft | 6500K | Pcs | 40
E-0038 | Electrical | Adaptor Power Protection Leakage Protection | 13 A- 10Ma | Unit | 5
E-0039 | Electrical | Socket Tester | 13 A - 150Ma | Unit | 2
E-0040 | Electrical | Socket Tester Checker EarthingTester | 48V-250V Ht107E | Pcs | 2
E-0041 | Electrical | Original Total Test Pen Testpen | Tht291408 | Pcs | 15
E-0042 | Electrical | Sarung Tangan Penebat Getah Kegunaan Khas Voltan Rendah | Gray | Pcs | 5
E-0043 | Electrical | Mega Kabel 2.5Mm Pvc Insulated Cable | Black | Roll | 1
E-0044 | Electrical | Mega Kabel 2.5Mm Pvc Insulated Cable | Green | Roll | 1
E-0045 | Electrical | Mega Kabel 2.5Mm Pvc Insulated Cable | Red | Roll | 1
E-0046 | Electrical | Mega Kabel 2.5Mm Pvc Insulated Cable | Blue | Roll | 1
E-0047 | Electrical | Mega Kabel 2.5Mm Pvc Insulated Cable | Yellow | Roll | 1
E-0048 | Electrical | Mega 1.5Mm Cable | Black | Roll | 1
E-0049 | Electrical | Mega 1.5Mm Cable | Green | Roll | 1
E-0050 | Electrical | Mega 1.5Mm Cable | Red | Roll | 1
E-0051 | Electrical | Mega 1.5Mm Cable | Blue | Roll | 1
E-0052 | Electrical | Mega 1.5Mm Cable | Yellow | Roll | 1
E-0053 | Electrical | Mega 4Mm Cable | Black | Roll | 1
E-0054 | Electrical | Mega 4Mm Cable | Green | Roll | 1
E-0055 | Electrical | Mega 4Mm Cable | Red | Roll | 1
E-0056 | Electrical | Mega 4Mm Cable | Blue | Roll | 1
E-0057 | Electrical | Mega 4Mm Cable | Yellow | Roll | 1
E-0058 | Electrical | Electrical Wire Cable Puller / Wire Puller | 15Meter | Roll | 1
E-0059 | Electrical | 3M Temflex Pvc Insulation Electrical Wire Tape | Black | Roll | 12
E-0060 | Electrical | 3M Temflex Pvc Insulation Electrical Wire Tape | Green | Roll | 12
E-0061 | Electrical | 3M Temflex Pvc Insulation Electrical Wire Tape | Red | Roll | 12
E-0062 | Electrical | 3M Temflex Pvc Insulation Electrical Wire Tape | Blue | Roll | 0
E-0063 | Electrical | 3M Temflex Pvc Insulation Electrical Wire Tape | Yellow | Roll | 1
E-0064 | Electrical | Heavy Duty Electrical Cable Tight 100Pcs/Pkt | 4" (100Mm) X 2.5Mm) | Pack | 1
E-0065 | Electrical | Heavy Duty Electrical Cable Tight 100Pcs/Pkt | 6" ( 150Mm X 3.6Mm ) | Pack | 1
E-0066 | Electrical | Heavy Duty Electrical Cable Tight 100Pcs/Pkt | 8" ( 200Mm X 3.6Mm ) | Pack | 1
E-0067 | Electrical | Heavy Duty Electrical Cable Tight 100Pcs/Pkt | 10" ( 250Mm X 4.8Mm ) | Pack | 1
E-0068 | Electrical | Heavy Duty Electrical Cable Tight 100Pcs/Pkt | 12" (300Mm X 4.8Mm ) | Pack | 1
E-0069 | Electrical | Nylon Cable Tie | 4" (100Mm) X 2.5Mm | Pack | 1
E-0070 | Electrical | Nylon Cable Tie | 6" ( 150Mm X 3.6Mm ) | Pack | 1
E-0071 | Electrical | Nylon Cable Tie | 8" ( 200Mm X 3.6Mm ) | Pack | 1
E-0072 | Electrical | Nylon Cable Tie | 10" ( 250Mm X 4.8Mm ) | Pack | 1
E-0073 | Electrical | Nylon Cable Tie | 12" (300Mm X 4.8Mm ) | Pack | 1
E-0074 | Electrical | Pvc Trunking Electrical Casing Insulation Wire | 3X4 | Unit | 10
E-0075 | Electrical | Pvc Trunking Electrical Casing Insulation Wire | 2X3 | Unit | 10
E-0076 | Electrical | Pvc Trunking Electrical Casing Insulation Wire | 2X4 | Unit | 10
E-0077 | Electrical | Pvc Trunking Electrical Casing Insulation Wire | 2X2 | Unit | 10
E-0078 | Electrical | Pvc Trunking Electrical Casing Insulation Wire | 1X2 | Unit | 10
E-0079 | Electrical | Pvc Trunking Electrical Casing Insulation Wire | 2" | Unit | 10
E-0080 | Electrical | Pvc Trunking Electrical Casing Insulation Wire | 1" | Unit | 10
E-0081 | Electrical | Pvc Trunking Electrical Casing Insulation Wire | 3/4 | Unit | 10
E-0082 | Electrical | Half Moon Pvc Trunking( With Double Site Tape ) | 30Mm X 8Mm | Pcs | 15
E-0083 | Electrical | Half Moon Pvc Trunking( With Double Site Tape ) | 50Mm X 13Mm | Pcs | 15
E-0084 | Electrical | Half Moon Pvc Trunking( With Double Site Tape ) | 70Mm X 15Mm | Pcs | 15
E-0085 | Electrical | 3 Core Flexible Cable 100% Pure Copper | 2.5Mm - 90M - Fajar | Roll | 2
E-0086 | Electrical | Schneider Metal Clad Switch Socket Outlet S-Class (Sirim) | Esm25 2 Gang 13A | Unit | 9
E-0087 | Electrical | Schneider Metal Clad Switch Socket Outlet S-Class (Sirim) | Esm15 1 Gang 13A | Unit | 10
E-0088 | Electrical | Mk 654 13A Plug Top (3 Pin) | 13 A | Unit | 15
E-0089 | Electrical | Ums 15Amp 250V Plug Top (Pt150R) Round Pin Type | 15A | Unit | 10
E-0090 | Electrical | Schneider Clipsal Metal Clad Switches Socket Outlet | 15 A 1 Gang | Unit | 10
E-0091 | Electrical | 3M Sponge Tape Strong Double Sided White Foam | Foam | Roll | 10
E-0092 | Electrical | 3M™ Duct Tape | Black - Dt8 48Mm X 25 | Roll | 5
E-0093 | Electrical | Seramic Fuse Uk Plug Top Fuse | 3A -Bs1362 | Pcs | 20
E-0094 | Electrical | Seramic Fuse Uk Plug Top Fuse | 5A -Bs1362 | Pcs | 20
E-0095 | Electrical | Seramic Fuse Uk Plug Top Fuse | 10A -Bs1362 | Pcs | 20
E-0096 | Electrical | Seramic Fuse Uk Plug Top Fuse | 13A -Bs1362 | Pcs | 20
E-0097 | Electrical | Seramic Fuse Uk Plug Top Fuse | 15A -Bs1362 | Pcs | 20
E-0098 | Electrical | Pvc Red Screw Wall Plug (10 Papanx50Pcs) | 6Mm | Tray | 10
E-0099 | Electrical | Pvc Wire Cable Connector 10Pcs/Pack | 5A | Pcs | 10
E-0100 | Electrical | Pvc Wire Cable Connector 10Pcs/Pack | 10A | Pcs | 50
E-0101 | Electrical | Pvc Wire Cable Connector 10Pcs/Pack | 15A | Pcs | 50
E-0102 | Electrical | Pvc Wire Cable Connector 10Pcs/Pack | 20A | Pcs | 50
E-0103 | Electrical | Pvc Wire Cable Connector 10Pcs/Pack | 30A | Pcs | 10
E-0104 | Electrical | Pvc Wire Cable Connector 10Pcs/Pack | 60A | Pcs | 10
E-0105 | Electrical | Cable Link Insulated Crimp Wire Terminal Connectors | 1.2Mm | Pcs | 10
E-0106 | Electrical | Cable Link Insulated Crimp Wire Terminal Connectors | 2.0Mm | Pcs | 10
E-0107 | Electrical | Cable Link Insulated Crimp Wire Terminal Connectors | 5.5Mm | Pcs | 10
E-0108 | Electrical | 10X38Mm Cartridge Fuse 500V 100Ka | 2A | Pcs | 20
E-0109 | Electrical | 10X38Mm Cartridge Fuse 500V 100Ka | 6A | Pcs | 20
E-0110 | Electrical | 10X38Mm Cartridge Fuse 500V 100Ka | 10A | Pcs | 25
E-0111 | Electrical | Schneider Electric S-Classic Switched Socket | 13 A 1 Gang | Pcs | 10
E-0112 | Electrical | Schneider Clipsal S-Classic Switched Socket | 13 A Twin Gang | Pcs | 10
E-0113 | Electrical | Schneider S-Classic Clipsal Switched Socket | 15 A 1 Gang 3 Pin Socket | Pcs | 10
E-0114 | Electrical | Pvc Nut Box Switch Base/ Surface Mounted | 3X3 | Pcs | 10
E-0115 | Electrical | Pvc Nut Box Switch Base/ Surface Mounted | 3X6 | Pcs | 10
E-0116 | Electrical | Pvc Nut Box Switch Base/ Surface Mounted | 3X7 | Pcs | 10
E-0117 | Electrical | Pvc Nut Box Switch Base/ Surface Mounted | 3X10 | Pcs | 10
E-0118 | Electrical | Pvc Nut Box Switch Base/ Surface Mounted | 3X12 | Pcs | 10
E-0119 | Electrical | Pvc Partition Box | 3" X 3", | Pcs | 5
E-0120 | Electrical | Rubber Splicing- Electrical High Tension Tape | 19Mm X 9M - Black | Roll | 5
E-0121 | Electrical | Polylab Petroleum Jelly | 500G | Tube | 2
E-0122 | Electrical | Air Bateri Deionized | Deionized | Liter | 45
E-0123 | Electrical | Electronic Contact Cleaner - Hardex (400Ml) | HD390 | Tin | 12
E-0124 | Electrical | Led Power Supply 260VAC Hz | 5A Watt - 60 Watt | Pcs | 15
E-0125 | Electrical | Custom Made Design Lockout Tagout - Safetyware | Do Not operate | pcs | 30
E-0126 | Electrical | Custom Made Design Lockout Tagout - Safetyware | Out of Service | Pcs | 9
E-0127 | Electrical | Safety Lockout Hasp - Safetyware | LTH342 | Pcs | 30
E-0128 | Electrical | Six-Hole Lockout Hasp - Safetyware | LTH402 | Pcs | 30
E-0129 | Electrical | 10-Lock Padlock Station - Safetyware | LTS202F | Kit | 1
E-0130 | Electrical | Portable Safety Lockout Kit - Safetyware | LTS702 | Pcs | 1
E-0131 | Electrical | Padlock - Safetyware | LTP110KA-RED | Pcs | 50
E-0132 | Electrical | Adjustable Ball Valve Lockout - Safetyware | LTV301 | Pcs | 10
E-0133 | Electrical | Timer Siwtch | Hager EHN711 | Pcs | 4
E-0134 | Electrical | Extension Socket Cable (5M) | ProSmart - 5 Gang | Pcs | 2
A-0001 | ACMV | Co2 Sensor 0-10V Duct Mounting | CTDT2 | Ea | 10
A-0002 | ACMV | Humidity /Temperature Transmitter | HTRT2500(-420) | Ea | 2
A-0003 | ACMV | Duct Transmitter Temperature/Humidity | DTT(H)4-420 | Ea | 10
A-0004 | ACMV | Well Insertion Temp Sensor 8'Inch | TE-6352M-1 | Ea | 10
A-0005 | ACMV | Duct Probe Temp Sensor 8'inch | TE-6351M-1 | Ea | 10
A-0006 | ACMV | Fan Coil Controller 230V | RCFD-230C | Ea | 5
A-0007 | ACMV | Male Pressure Sensor | P499ABS-404C | Ea | 4
A-0008 | ACMV | Maltec-Off-Coil Sensor(3Mm x 3000Mm)-4147 | Maltec Off-Coil | Ea | 1
A-0009 | ACMV | Air Pressure Switch (4-20Ma) | BECK 930.80B | Ea | 5
A-0010 | ACMV | Pressure Switch (200-1000PA) | BECK 930.85B | Ea | 5
A-0011 | ACMV | Outdoor Wetbulb With Radiation | HMS82 Vaisala | Ea | 5
A-0012 | ACMV | Duct Sensor With Hous | TG-KH3/PT1000 | Ea | 5
A-0013 | ACMV | Duct Carbon Dioxide Transmitter | CEDTB00 | Ea | 10
A-0014 | ACMV | Ducted T, RH Sensor | HMD82 Vaisala | Ea | 10
A-0015 | ACMV | Stainless Steel Fin Comb | 140Mm x 58Mm x 25mm | Pcs
A-0016 | ACMV | Washable Hand Wash - Hardex | Orange | Btl
A-0017 | ACMV | Led Lantern Torch Light | 1200mAh/3000Lumen | Pcs
A-0018 | ACMV | Rubber Mallet | 24Oz | Pcs
B-0001 | Building | Silicone Sealant | 85Gram | Tube | 43
B-0002 | Building | Cable Tie (Thin) | Thin | Pack | 2
B-0003 | Building | Aryclic Tape 48Mm (Clear) | 48Mm | Roll | 79
B-0004 | Building | Aryclic Tape 24Mm (Clear) | 24Mm | Roll | 41
B-0005 | Building | Masking Tape 8Mm | 8Mm | Roll | 0
B-0006 | Building | Masking Tape 48Mm | 48Mm | Roll | 26
B-0007 | Building | Double Side Foam Tape 10Mm (Black) | 10Mm | Roll | 0
B-0008 | Building | Double Side Foam Tape 15Mm (Black) | 15Mm | Roll | 0
B-0009 | Building | Putty Filler | 500Gram | Tube | 2
B-0010 | Building | Grease Bearing | 2Kg | Tube | 3
B-0011 | Building | Lubricant Multi Purpose 24pcs/Ctn - 277Ml | WD-40 | Tin | 23
B-0012 | Building | Acrylic Tape 18Mm (Clear) | 18Mm | Roll | 10
B-0013 | Building | Glue Pipe - 500Ml - Pvc | VT-300 | Tin | 5
B-0014 | Building | Nylon Wall Plug With Screw (100Pcs/Box) | #6X30Mm | Box | 1/5
B-0015 | Building | Nylon Wall Plug With Screw (100Pcs/Box) | #6X40Mm | Box | 1/5
B-0016 | Building | Nylon Wall Plug With Screw (100Pcs/Box) | #6X50Mm | Box | 1/5
B-0017 | Building | Nylon Wall Plug With Screw (100Pcs/Box) | #8X45Mm | Box | 1/5
B-0018 | Building | Nylon Wall Plug With Screw (100Pcs/Box) | #8X60Mm | Box | 1/5
B-0019 | Building | Nylon Wall Plug With Screw (100Pcs/Box) | #8X80Mm | Box | 1/5
B-0020 | Building | Nylon Wall Plug With Screw (100Pcs/Box) | #8X100Mm | Box | 1/5
B-0021 | Building | Self Drilling Screw (1K/box) | 4.2Mm X 20Mm | Box | 1/5
B-0022 | Building | Self Drilling Screw (1K/box) | 4.2Mm X 25Mm | Box | 1/5
B-0023 | Building | Self Drilling Screw (1K/box) | 4.2Mm X 38Mm | Box | 1/5
B-0024 | Building | Self Drilling Screw (1K/box) | 4.2Mm X 50Mm | Box | 1/5
B-0025 | Building | Sleeve Anchor Wall Plug Heavy Duty | 1/4 X 2" 8Mmø | Box | 1/5
B-0026 | Building | Sleeve Anchor Wall Plug Heavy Duty | 5/16 X 2-3/8" 10Mmø | Box | 1/5
B-0027 | Building | Sleeve Anchor Wall Plug Heavy Duty | 5/16 X 2-5/8" 10Mmø | Box | 1/5
B-0028 | Building | Sleeve Anchor Wall Plug Heavy Duty | 3/8 X 3"12Mmø | Box | 1/5
B-0029 | Building | Sleeve Anchor Wall Plug Heavy Duty | 3/8 X 4-1/2" 12Mmø | Box | 1/5
B-0030 | Building | Sleeve Anchor Wall Plug Heavy Duty | 1/2 X 4" 16Mmø | Box | 1/5
B-0031 | Building | Silicone Gun | - | Pcs | 4
B-0032 | Building | Garden Hose Reel (Thick) | 30M x 3Mm | Roll
B-0033 | Building | Cotton Rag | 20kg/bag | Kg | 1/5
B-0034 | Building | Sealing Tape (Thick Type) | - | Roll | 0
B-0035 | Building | Self Drilling Screw Pan Head(1K/Box) | 4.2Mm X 20Mm | Box | 1
B-0036 | Building | Self Drilling Screw Csk Head(1K/Box) | 4.2Mm X 20Mm | Box | 1
B-0037 | Building | Self Drilling Screw Pan Head(1K/Box) | 4.2Mm X 25Mm | Box | 1
B-0038 | Building | Self Drilling Screw Csk Head(1K/Box) | 4.2Mm X 25Mm | Box | 1
B-0039 | Building | Self Drilling Screw Pan Head(1K/Box) | 4.2Mm X 38Mm | Box | 1
B-0040 | Building | Self Drilling Screw Csk Head(1K/Box) | 4.2Mm X 38Mm | Box | 1
B-0041 | Building | Self Drilling Screw Pan Head(1K/Box) | 4.2Mm X 50Mm | Box | 1
B-0042 | Building | Self Drilling Screw Csk Head(1K/Box) | 4.2Mm X 50Mm | Box | 1
B-0043 | Building | Stainless Steel Half Moon Door Stopper | Silver | Set | 29
B-0044 | Building | Bumper Wall Mounted Door Stopper | 15Cm | Pcs | 8
B-0045 | Building | Fiber Tape | 15MM*50M | Roll | 0
B-0046 | Building | Fiber Tape | 10MM*25M | Roll | 0
B-0047 | Building | Fiber Tape | 10MM*50M | Roll | 0
B-0048 | Building | Fiber Tape | 5MM*50M | Roll | 0
B-0049 | Building | Fiber Tape | 20MM*25M | Roll | 0
B-0050 | Building | Fiber Tape | 20MM&50M | Roll | 0
B-0051 | Building | Anti Slip Tape 45Mm X 5M | GRAY | Roll | 0
B-0052 | Building | Anti Slip Tape 45Mm X 5M | BROWN | Roll | 0
B-0053 | Building | Pvc Floor Tape 48Mm X 30M | BLACK/YELLOW | Roll | 0
B-0054 | Building | Pvc Floor Tape 45Mm X 33M | RED/WHITE | Roll | 0
B-0055 | Building | Pvc Strip Curtain (Transparent) | 3MM X 300MM | Roll | 0
B-0056 | Building | Heavy Duty Traffic Safety Cone | Safety Cone | Unit | 0
B-0057 | Building | Nippon 145 White Easywash - 18L | Paint | Liter | 90
B-0058 | Building | Safety Helmet C/W Webbing Harness | HG2-WHG3RS | Pcs | 5
B-0059 | Building | Storage Box 25L with Lid | Transparent | Box
B-0060 | Building | Storage Box 3.5L with Lid | Transparent | Box
B-0061 | Building | Storage Box 7L with Lid | Transparent | Box
B-0062 | Building | Storage Box 40L With Lid | Transparent | Box
B-0063 | Building | Compart Storage Screw (X1) | Blue(180*120*80) | Box
B-0064 | Building | Compart Storage Screw (X3) | Blue(350*200*150) | Box
B-0065 | Building | Compart Storage Screw (X4) | Blue(400*250*160) | Box
B-0066 | Building | Botllesss Racking | 1800Mm(H) x 600Mm(D) x 1500Mm(L) | Set
B-0067 | Building | Rechargeable Headlight - Type C cable | 5K MAH | Set
B-0068 | Building | Compartment Storage Screw | 9 Slot | Set
B-0069 | Building | Cabinet Storage 3 Shelf | 915W x457D x 182H | Set
B-0070 | Building | Stainless Steel Push & Pull Door | 100Mm x 300Mm | Set
B-0071 | Building | Stainless Steel Grab Bar Toilet (V Shape) | 25Mm x 230Mm x 230Mm | Set
B-0072 | Building | Anti Slip Tape 48Mm x 5M (Watch Your Step) | Yellow/Black | Roll
B-0073 | Building | Acrylic Tape 10Mm (Clear) | 10Mm | Roll
B-0074 | Building | Clear Hose Reel | 1 Inch x 2Mm | Roll
B-0075 | Building
P-0001 | Plumbing | Pvc Fitting 25Mm | Elbow | Pcs | 0
P-0002 | Plumbing | Pvc Fitting 25Mm | Socket | Pcs | 0
P-0003 | Plumbing | Pvc Fitting 25Mm | Endcap | Pcs | 0
P-0004 | Plumbing | Pvc Fitting 25Mm | tee | Pcs | 0
P-0005 | Plumbing | Pvc Fitting 25Mm | Faucet/PT | Pcs | 0
P-0006 | Plumbing | Pvc Fitting 25Mm | Valve Socket | Pcs | 0
P-0007 | Plumbing | Pvc Fitting 25Mm | Tank Connector | Pcs | 0
P-0008 | Plumbing | Pvc Fitting 25Mm | Threader Plug | Pcs | 0
P-0009 | Plumbing | Pvc Fitting 25Mm | PVC Pipe Clip | Pcs | 0
P-0010 | Plumbing | Pvc Fitting 25Mm | Thread Nipple | Pcs | 0
P-0011 | Plumbing | Pvc Fitting 25Mm | PT/Elbow | Pcs | 0
P-0012 | Plumbing | Pvc Fitting 25Mm | 45 Degree Elbow | Pcs | 0
P-0013 | Plumbing | Stainless Steel Hose Clip | 16-25MM | Pcs | 0
P-0014 | Plumbing | Stainless Steel Hose Clip | 18-32MM | Pcs | 0
P-0015 | Plumbing | Stainless Steel Hose Clip | 21-44MM | Pcs | 0
P-0016 | Plumbing | Scrapper With Rubber Handle | 4 Inch | Pcs | 0
P-0017 | Plumbing | Self Drilling Screw Flat Head Counter Sunk Head For Metal | #8 X 1/2 inch | Box | 0
P-0018 | Plumbing | Blind Rivet ( 1K/Box) | 1/8 X 5/16 | Box | 0
P-0019 | Plumbing | Blind Rivet ( 1K/Box) | 1/8 X 1/4 | Box | 0
P-0020 | Plumbing | Blind Rivet ( 1K/Box) | 1/8 X 1/2 | Box | 0
P-0021 | Plumbing | Hand Riveter Orange Handle | - | Unit | 0
P-0022 | Plumbing | Sirim Hdpe Poly Pp Polyethylene Black | 100M | Roll | 0
P-0023 | Plumbing | Sensor Tap Spout Assembly | SA-SPOUTST300GNB | Pcs | 1
P-0024 | Plumbing | Sensor Tap Solenoid Valve Casing Assembly | SA-CASSTSOLV | Pcs | 1
P-0025 | Plumbing | Power Supply, 8V, Tube Type Junction Box | SA-PS8V-SWT | Pcs | 1
P-0026 | Plumbing | Door Enclosure | Up to 65Kg | Pcs | 1
P-0027 | Plumbing | Deck Mounted Sensor Tap Ust800 | UST800 | Pcs | 5
P-0028 | Plumbing | Mini Ball Ball Valve 2-Side Male¦Threat Ft-Bz1298B | FT-BZ12988 | Pcs | 5
P-0029 | Plumbing | Power Supply 8V C/W Ipx8 Cable Connector Sa-Ps-Swt | SA-PS8V-SWT | Pcs | 3
P-0030 | Plumbing | Sensor Eye Cable For St300Gn Sa-Eycs300Gn | SA-EYCS300GN | Pcs | 5
P-0031 | Plumbing | Sensor Tap. Controller W/Solenoid Valve Sa-Casstsolva2L |  | Pcs | 3
P-0032 | Plumbing | Sensor Tap Soleniod Valve Assembly Sa-Solval4.5V-Mcab |  | Pcs | 3
P-0033 | Plumbing | Soleniod Coil W/Mini Cable 4.5V Sa-Solc4.5V-Mcab |  | Pcs | 5
P-0034 | Plumbing | Sensor Remote Control Sa-Rc1000E |  | Pcs | 1
P-0035 | Plumbing | Deck-Mounted Self-Closing Tap - Uts700 |  | Pcs | 2
P-0036 | Plumbing | Mini Ball Valve 2 Side Male Threat Ft-Bz129B |  | Pcs | 2
P-0037 | Plumbing | Self Closing Tap R-Q323552 |  | Pcs | 10
P-0038 | Plumbing | Sct Cap With Screw Sa-Capsct3022001-S |  | Pcs | 5
P-0039 | Plumbing | Bidet Nozzle Abs Chrome C/W Stainless Steel Flexible Hose | 1200Mm R-Bdh1202Ts | Pcs | 10
P-0040 | Plumbing | Angle Stop Valve Lever Handle R-Jt07011B |  | Pcs | 5
P-0041 | Plumbing | Extended Bib Tap With Lever Handle R-Btp901210 |  | Pcs | 5
P-0042 | Plumbing | Extended Bib Tap With Lever Handle Ck9476 |  | Pcs | 5
P-0043 | Plumbing | Ablution Tap With Lever Handle E-3219 |  | Pcs | 5
P-0044 | Plumbing | Basin Tap 1 | W3-R-SCT101 | Pcs | 1
P-0045 | Plumbing | Basin Tap 2 | R-Q323551 | Pcs | 5
P-0046 | Plumbing | Basin Tap 5 | RL ST303GN | Pcs | 5
P-0047 | Plumbing | Hand Bidet With Angle Valve 1 | R-BDH1202TS & W3-K-SA219L | Pcs | 5
P-0048 | Plumbing | Hand Bidet With Angle Valve 2 | R-BDH1202TS & W3-R-JT070111B | Pcs | 5
P-0049 | Plumbing | Bib Tap | R-BTP901210 | Pcs | 5
P-0050 | Plumbing | Ablution Tap | R-SA927104.40 | Pcs | 5
P-0051 | Plumbing | Polypropylene Sewage Cleaning | 25 Rod(5Heads) | Set
S-0001 | Stationary | Gunting (Scissors) 6Inch | 6 inch | Pcs | 25
S-0002 | Stationary | Pembaris (Ruler) 30Cm | 30cm | Pcs | 25
S-0003 | Stationary | Stapler | Standard | Pcs | 25
S-0004 | Stationary | Ubat Stapler (Stapler Refills) 20Box/Ctn | Standard | Ctn | 3
S-0005 | Stationary | Sticky Notes 12pcs/Box | 3 x 3 | Box | 4
S-0006 | Stationary | Sticky Indicator 12Pcs/Box | Colorful | Box | 1
S-0007 | Stationary | Glue Stick | Mini | Pcs | 13
S-0008 | Stationary | Laminate Sheet | A4 | Box | 1
S-0009 | Stationary | A4 Sheet Protectors | A4 | Pack | 6
S-0010 | Stationary | Small Cutter Knife | Standard | Pcs | 0
S-0011 | Stationary |  |  | Roll | 4
S-0012 | Stationary | Pvc Neon Color Tape Flag (12Mm X 45Mm – 1X5 Color) | 24MM | Pcs | 2
S-0013 | Stationary | Double Side Tape | 24MM | Pcs | 4
S-0014 | Stationary | Pen Holder (Round) | Standard | Pcs | 20
S-0015 | Stationary | Foam Notice Board With Aluminium Frame | H120 x L150 CM | Pcs | 2
S-0016 | Stationary | Thumbtack Pin 25Pcs/Box | 24MM | Box | 2
S-0017 | Stationary | Sheet Protector Refill (100pcs) | A4 | Pack | 2
S-0018 | Stationary | Astar Binder Clip (12/Box) | 19mm | Box | 2
S-0019 | Stationary | Astar Binder Clip (12/Box) | 25mm | Box | 2
S-0020 | Stationary | Astar Binder Clip (12/Box) | 32mm | Box | 2
S-0021 | Stationary | Astar Binder Clip (12/Box) | 41mm | Box | 2
S-0022 | Stationary | Astar Binder Clip (12/Box) | 51mm | Box | 2
S-0023 | Stationary | Astar Binder Clip (12/Box) | 60mm | Box | 2
S-0024 | Stationary | A4 Clip Board (Pp Material) | A4 | Pcs | 2
S-0025 | Stationary | Staples Remover | N/A | Pcs | 0
S-0026 | Stationary | Cellophane Tape (Clear) | 18mm*40m | Roll | 3
S-0027 | Stationary | Cellophane Tape (Clear) | 24mm*40m | Roll | 4
S-0028 | Stationary | Astar A3 Laminating Film 100Pcs | A3 | Box | 1
S-0029 | Stationary | Astar A4 Laminating Film 100Pcs | A4 | Box | 1
S-0030 | Stationary | Pilot G2 0.5Mm Mechanical Pencil (Pil276064) | 0.5MM | Pcs | 6
S-0031 | Stationary | Buncho Pencil Lead 2B | 0.5x70mm | Pack | 0
S-0032 | Stationary | Calculator Scientifix | N/A | Pcs | 1
S-0033 | Stationary | Puncher | N/A | Pcs | 8
S-0034 | Stationary | Logbook Hardcover - 60Gsm/500P (Snb-651) | 60gsm/500P (SNB-651) | Pcs | 1
S-0035 | Stationary | Logbook Hardcover - 50Gsm/120P (Snb-511) | 50gsm/120P (SNB-511 | Pcs | 1
S-0036 | Stationary | Magnetic Whiteboard (25X35Cm ) | (25x35cm ) | Unit | 1
S-0037 | Stationary | Glue Tack It Home | N/A | Pack | 7
S-0038 | Stationary | Magnetic Frame Office Adhesive Wall Frame | A4 | Pcs | 21
S-0039 | Stationary | Magnetic Frame Office Adhesive Wall Frame | A3 | Pcs | 21
S-0040 | Stationary | Magnet Sheet - Easy To Cut | 2ft x 1M | Pcs | 10
S-0041 | Stationary | Ball Pen 0.5Mm | Red | Pcs | 0
S-0042 | Stationary | Ball Pen 0.5Mm | Blue | Pcs | 0
S-0043 | Stationary | Ball Pen 0.5Mm | Black | Pcs | 0
S-0044 | Stationary | Permenant Marker Pen (Fine tip) | Black | Pcs | 3
S-0045 | Stationary | Parmenant Marker | Red | Pcs | 2
S-0046 | Stationary | Parmenant Marker | Blue | Pcs | 2
S-0047 | Stationary | Parmenant Marker | Black | Pcs | 2
S-0048 | Stationary | Arch File AF403 | 3 Inch | Ctn | 1
S-0049 | Stationary | Arch File AF402 | 25Mm | Ctn | 1
S-0050 | Stationary | File Management | A4 | Pcs | 0
S-0051 | Stationary | Clear File | A4 | Pcs | 0
S-0052 | Stationary | Pencil | 2B | Pcs | 0
S-0053 | Stationary | Mechanical Pencil | 0.5Mm | Pcs | 6
S-0054 | Stationary | Correction Tape | White | Pcs | 0
S-0055 | Stationary | Correction Tape Refill | White | Pcs | 0
S-0056 | Stationary | Paper Clip Triangle (80's/Box) | 25Mm | Pcs | 0
S-0057 | Stationary | Rubber Eraser | 4Cm | Pcs | 0
S-0058 | Stationary | Highlighter Pen Marker | Yellow | Pcs | 0
S-0059 | Stationary | Highlighter Pen Marker | Green | Pcs | 0
S-0060 | Stationary | Highlighter Pen Marker | Pink | Pcs | 0
S-0061 | Stationary | Gel Pen 0.7Mm | Blue | Pcs | 0
S-0062 | Stationary | Gel Pen 0.7Mm | Black | Pcs | 0
S-0063 | Stationary | Document Tray 3 Tier | A4 | Set | 9
S-0064 | Stationary | Paper Clip Giant 50Mm | 10' | Box | 3
S-0065 | Stationary | Cellophane Tape (Clear) 96Roll/Ctn | 48Mm | Roll | 7
B-0075 | Building | Thum-turn Indicator | Round/Silver | Pcs
Note on C340: New added